## Slide 1
Performance of the Fragment Separator BigRIPS
and
Perspectives on In-flight RI Beam Production
Naoki Fukuda, D. Kameda, H. Takeda, H. Suzuki,
D. S. Ahn, Y. Shimizu, N. Inabe, T. Kubo
RIKEN Nishina Center
Outline
In-flight RI beam production at BigRIPS at RIKEN RIBF
Search for new isotopes
RI beams produced at BigRIPS
Search for new isomers
Perspectives on in-flight RI beam production
Summary
Advanced in Radioactive Isotope Science 2014 (ARIS2014)
Tokyo, Japan, June 1st-6th, 2014
Notes: Thank you the chairman for the introduction.
First of all, I would like to thank the organizers for inviting me to this conference.
Today I would like to talk about
“Performance of the Fragment Separator BigRIPS and Perspectives on In-flight RI Beam Production”.
This work has been done with the people listed here.
The outline of my talk is shown here.
First I will present in-flight RI beam production at the BigRIPS separator at RIKEN RI Beam Factory,
Then, I will talk about search for new isotopes to demonstrate the capability of the BigRIPS.
Then, I will talk about RI beams produced at BigRIPS, search for new isomers.
In closing, I will briefly mention perspectives on in-flight RI beam production,
Finally, I will summarize my talk.

## Slide 2: Production reactions at BigRIPS
In-flight fission of 238U beam (Very powerful for medium-heavy neutron-rich isotopes)
238U
238U
9Be
Pb
Abrasion fission
Coulomb fission
78Ni
132Sn
Projectile fragmentation (Any isotopes lighter than projectile can be produced)
124Xe
9Be
100Sn
e.g.
abrasion
hot participant zone
ablation
abrasion
fission
fission
COULEX
238U(345 MeV/u) + Be 7 mm
Br = 7.249 Tm
Dp/p = ±1 %
Figures are base on those from GSI.
Notes: Here I show two kinds of reaction mechanisms used for in-flight RI beam production, projectile fragmentation and in-flight fission.
These figures shown here illustrate their mechanism schematically.
The projectile fragmentation can produce any isotopes lighter than the projectile.
In-flight fission of U beam is very powerful reaction to produce a wide-range of neutron-rich nuclei.
This figure shows a particle identification plot for fission fragments produced by in-flight fission of U beam.
A variety of neutron-rich isotopes are produced in a wide range as shown here.
----- 会議メモ (2014/06/05 17:04) -----
In-flight fission はこう。
BigRIPS はこの反応を最大限に活かすように設計されている。
----- 会議メモ (2014/06/05 18:38) -----
uran no koto wo kinisite BigRIPS ha sekkei sarete iru

## Slide 3: Layout of RIKEN RI Beam Factory (RIBF)
BigRIPS
Max. rigidity = 9 Tm
Max. rigidity
= 8 Tm max.
ZeroDegree
SAMURAI
Max. field integral
= 6.8 Tm max.
High-resolution beam line
SHARAQ
Max. rigidity
= 6.8 Tm max.
by CNS
Maximum energy is ~350 MeV/u for heavy ions up to U ions.
Goal beam intensity is 1 pmA (6 x 1012 particles/sec).
Max. beam power ~100 kW
RI beams
RI beams
IRC
SRC
Notes: This slide is to remind you of the layout of RIKEN RI Beam Factory, R-I-B-F.
What you see here is the IRC and SRC cyclotron.
The maximum energy is 350 MeV/u for heavy ions up to Uranium.
The goal beam intensity is 1 puA, which corresponds to the beam power of about 100 kW.
RI beams are produced at the BIgRIPS separator here,
Which is followed by the major experimental devices,
The ZeroDegree, SAMURAI, and SHARAQ spectrometers.
----- 会議メモ (2014/06/05 18:38) -----
BigRIPS

## Slide 4: Major features of the BigRIPS separator
Parameters:
Dq = ±40 mr
Df = ±50 mr
Dp/p = ±3 %
Br = 9 Tm
L = 78.2 m
STQ
Superferric Q
From SRC
Production & separation
Particle identification & two-stage separation
1st stage
Wedge
Wedge
Two-stage separator
2nd stage
Large acceptances
  Comparable with spreads of in-flight fission at RIBF energies: ±50 mr, ±5%
Superconducting quadrupoles having a large aperture
  Pole-tip radius = 17 cm, pole tip field = 2.4—2.5 T
Two-stage separator scheme
2nd stage with high resolution
  Particle identification without measuring TKE ← charge states
STQ1—14:
Superconducting
Q triplets
D1—D6:
Dipoles (30 deg.)
F1—F7: Focuses
Notes: Here I will introduce the major features of the BigRIPS separator.
The BigRIPS is designed to have large acceptances which are comparable with the spreads of in-flight fission at R-I-B-F energies,
allowing efficient collection of fission fragments.
The large acceptances have been achieved by the use of superconducting quadrupoles with large apertures.
The second important feature is a two-stage separator scheme, in which the first stage is used to produce and separate RI beams,
while particle identification and two-stage separation are made in the second stage.
The second stage is designed to have high resolution, so that we can make particle identification
without measuring total kinetic energy in most cases.
At R-I-B-F energies, we have mixture of charge states, so this feature is very important.

## Slide 5: Reaction kinematics and collection efficiency of fission fragment
Small spread
Large spread
In-flight fission of U beam
345 MeV/u
~10 mr ~1 %
~100 mr ~10 %
Projectile fragmentation
Large acceptance needed!
Much larger!
BigRIPS:
Dq = 80 mr
Df = 100 mr
Dp/p = 6 %
J. Nolen & H. Geissel
132Sn
Fraction of 132Sn contained in a cone of the respective angle
Notes: This slide shows the reaction kinematics and collection efficiency for the in-flight fission of U beam.
This figure illustrates the angular and momentum spreads of fission fragments in the in-flight fission of U beam at 345 MeV/u.
We see a large angular spread of about 100 mrad and a large momentum spread of about 10%,
which are much larger compared to those in the projectile fragmentation.
In order to cover such large spreads, the BigRIPS separator has been designed to have large ion-optical acceptances shown here.

## Slide 6: Particle identification scheme at BigRIPS
TOF-Br-DE method with track reconstruction  Improve Br and TOF resolution
1st stage
2nd stage
Wedge
Wedge
TOF: b
Plastic scinti.
Br with track reconstruction
PPAC x2
PPAC x2
PPAC x2
DE: MUSIC, Si Isomer g-ray: Ge
Br57
L = 46.6 m
TOF-Br-DE method
Bethe-Bloch formula
TOF: Time of flight
Br: Magnetic rigidity
DE: Energy loss
Br35
Notes: This slide shows the particle identification scheme and the beam line detectors at BigRIPS.
The particle identification is based on the TOF-Brho-DE method with track reconstruction,
to deduce the atomic number Z, and the mass-to-charge ratio, A/Q.
TOF is measured between two thin plastic scintillation counters placed at the achromatic foci, the F3 and F7.
The delta-E measurement is made at the F7 by using a MUSIC or a stack of Si detectors.
The Brho measurement is made by trajectory reconstruction from the positions and angles of fragments measured at the F3, F5, and F7
by using PPAC detectors.
The particle identification is calibrated by detecting isomeric gamma-rays of some fragments by using germanium detectors at F7.

## Slide 7: Particle identification (PID) resolving power
238U(345 MeV/u) + Be 2.9 mm
Br 01 = 7.990 Tm, F1 deg Al 2.18mm
G2 setting in J. Phys. Soc. Jpn. 79 (2010) 073201.
r.m.s. A/Q resolution: 0.034 %
A/Q spectrum for Rh isotopes (Z=45)
Z vs. A/Q plot
PID at BigRIPS  N. Fukuda et al., Nucl. Instr. Meth. B 317 (2013) 323.
TOF-Br-DE method with trajectory reconstruction
A/Q resolution: High enough to identify charge states of fragments
6.1s separation
Notes: In addition to the large acceptance, another important feature is the high resolving power in the particle identification.
This slide is to demonstrate excellent particle identification for fission fragments.
Particle identification is made by the atomic number Z and mass-to-charge ratio A/Q, based on the TOF-Br-deltaE method.
This is the Z vs A/Q plot and this is the one-dimensional A/Q spectrum for Rh isotopes.
The red and blue arrows indicate the fully-stripped and hydrogen-like ions, respectively,
and they are very close to each other with the relative A/Q difference of about 0.2%.
The achieved A/Q resolution is as good as 0.034%, which allows clear identification of the fully-stripped peak and the hydrogen-like peak as show here.
Next, I will show some details of particle identification.
----- 会議メモ (2014/06/05 18:52) -----
A/Q resolution is high ... wo ireru.

## Slide 8: Trajectory reconstruction for Br detemination
F5x = (x|x)F3x + (x|a)F3a + (x|d)d
F5a = (a|x)F3x + (a|a)F3a + (a|d)d
by using the position and angle measured at the focuses (such as F5x, F5a, F3x) and the experimentally determined transfer matrices as follows:
Br=Br0(1+ d)
Measured F5x, F5a, F3x
 deduce d, F3a
For Z=40 isotopes produced by in-flight fission of a 238U beam at 345 MeV/u
Br(F5X)
Br(Rec.)
TOF37
With trajectory reconstruction
(from the position at dispersive focus)
Z=40 (Zr) isotopes
Without trajectory reconstruction

## Slide 9: New isotope search at BigRIPS (2007—2014)
2007 (238U beam)
  238U beam current 0.007 pnA
  125Pd, 126Pd were observed for one day.
T. Ohnishi et al., J. Phys. Soc. Jpn. 77 (2008) 083201.
T. Ohnishi et al., J. Phys. Soc. Jpn. 79 (2010) 073201.
2008 (238U beam)
  238U beam current 0.22 pnA
  3 settings for Z ~ 30, 40, 50 region
  45 new isotopes
D. Kameda et al., to be published.
H. Suzuki, et al., NIMB 317, 756-768 (2013)
2011 (238U and 124Xe beam)
  238U beam current 0.3 pnA
  2 settings for Z ~ 60—70 region
  26 new isotopes
  124Xe beam current 9 pnA
  85Ru, 86Ru, 80Mo, 81Mo were observed.
Y. Shimizu et al., to be submitted.
2012/2013 (238U beam EURICA campaign)
  238U beam current 6–10 pnA
  Total rates were limited at ~100 pps due to EURICA operation
  26 new isotopes
2014 (238U beam)
  238U beam current 12.6 pnA
  2 settings for Z ~ 60—70 region
  18 new isotopes (Preliminary)
121 new isotopes (Preliminary)
Chart: 
| 2007.0 | 2008.0 | 2011.0 | 2012.0 | 2013.0 | 2014.0
 | 0 | 2 | 47 | 73 | 91 | 99
 | 2 | 45 | 26 | 18 | 8 | 18
 | 0.007 | 0.22 | 0.3 | 10 | 6 | 12.6
Year
Number of new isotopes
Beam current (pnA)
0.007
pnA
0.3
0.22
10
6
12.6
2
45
26
18
8
18
73
238U beam
Notes: The large acceptance and high PID power of the BigRIPS are maximally used in the new isotope search experiment.
Here I show the history of the new isotope search performed at the BigRIPS.
The first experiment was conducted in 2007 by using a Uranium beam.
We could identify two new isotopes 125Pd and 126Pd,
Althogh the beam intensity was as low as 0.007 pnA and the running time was only one day.
This just demonstrated the performance of the BigRIPS.
After that we conducted the experiments with increasing the beam intensity, as listed here.
In 2011, we performed the experiment with a 124Xe beam for the first time.
----- 会議メモ (2014/06/05 17:59) -----
demonstrate

## Slide 10: New isotope search 2014 April
Z ~ 68 region
Z ~ 59 region
238U + Be at 345 MeV/u
Setting | Z ~ 68 region | Z ~ 59 region
Tuned for | 181Er67+68+ | 159Pr59+
238U | 3.39 pnA | 12.6 pnA
Run time | 1.8 days | 2.3 days
Target | Be 6.9 mm | Be 4 mm
Br | 6.311 Tm | 7.527 Tm
Dp/p | +2/-1.5% | +3/-3%
F1 degrader | Al 0.98 mm | Al 1.4 mm
F5 degrader | Al 0.96 mm | Al 1.4 mm
Preliminary
18 new isotopes
(Preliminary)
Known frontier
Known frontier
Notes: This slide shows the preliminary result of the most recent new isotope search performed in this April.
We targeted two regions around Z= 68 and 59.
The beam intensity was 12.6 pnA on average.
And 18 new isotopes have been observed for about 5 days.

## Slide 11: New isotopes observed at BigRIPS
Projectile fragmentation of 124Xe beam
238U
124Xe
To expand the accecible region of exotic nuclei far from stability
N
Z
50
82
50
28
28
20
2012 (4) 124Xe: 9 pnA
2014 (18) 238U: 12.6 pnA
2013 (8) 238U: 6 pnA
2012 (18) 238U: 10 pnA
2011 (26) 238U: 0.3 pnA
2008 (45) 238U: 0.22 pnA
2007 (2) 238U: 0.007 pnA
126
In-flight fission of 238U beam
r-process path
127Rh
128Pd
Notes: This slide summarizes the new isotopes observed at the BigRIPS on the nuclear chart.
For the waiting nuclei of N = 82 in the r-process, we have reached 127Rh at lowest Z.
For Sn isotope, the most neutron-rich one is 140.
As of now we have found 121 new isotopes at the BigRIPS.
----- 会議メモ (2014/06/05 17:59) -----
in the nuclear chart.
N = 82 に到達したのは、128Pd, 127Rh
Pd に関しては more neutron rich まで届いている。

## Slide 12: RI beams produced at BigRIPS (2007—2014)
RI beams produced (308)
new isotopes (121)
N
Z
50
50
28
28
20
82
20
8
8
124Xe
70Zn
48Ca
18O
14N
60
70
308 RI-beams have been produced for ~80 experimental programs.
238U
EURICA Ge array
(EUROBALL RIKEN Cluster Array)
2012 Fall
2013 Spring
238U beam
EURICA campaign
b-and isomer-decay measurements
N = 34
100Sn 4 x 10-3 pps at 35 pnA
EURICA(M. Lewitowicz-Gr)
~2300 counts in total
128Pd 2.0 x 10-3 pps at 10 pnA
“Robust shell closure at N = 82 in exotic Pd isotopes” EURICA(H. Watanabe-Gr)
PRL 111, 152501 (2013)
78Ni 2.3 x 10-2 pps at 10 pnA
EURICA(S. Nishimura/M. Niikura-Gr)
7000—8000 78Ni for each exp.
 | 238U | 124Xe | 86Kr | 70Zn | 48Ca | 18O | 14N | 4He | Yearly total
2007 | 4 |  | 1 |  |  |  |  |  | 5
2008 | 2 |  |  |  | 4 |  |  |  | 6
2009 | 3 |  |  |  | 3 |  | 3 | 1 | 10
2010 |  |  |  |  | 10 | 1 | 2 |  | 13
2011 | 4 | 2 |  |  |  | 2 |  |  | 8
2012 | 6 | 3 |  | 1 | 4 | 6 |  |  | 20
2013 | 4 | 2 |  |  |  | 3 |  |  | 9
2014 | 6 |  |  | 1 |  |  |  |  | 7
Total | 29 | 7 | 1 | 2 | 21 | 12 | 5 | 1 | 78
Number of experiments
Notes: We have provided 308 RI beams from 2007 till this spring.
This table summarizes the number of experimental programs performed at the BigRIPS,
Which amounts to 78 experiments.
I will highlight some RI beams as benchmark from the recent experiment.
The EURICA campaign was carried out with a Uranium beam for beta- and isomer-decay measurements.
Here, the 128Pd was provided at 2 x 10-3 pps at around 10 pnA.
The doubly magic nucleus 78Ni was at 2.3 x 10-2 pps.
In the neutron-deficient side, 100Sn was produced from the projectile fragmentation fo 124Xe
And delivered at 4 x 10-3 pps at around 35 pnA.
55Sc and 56Ti were produced from 70Zn at these rates.
----- 会議メモ (2014/06/05 17:59) -----
number of experiment for each beam and each year
U がメイン。

## Slide 13: Production yields measurement
124Xe 345 MeV/u + Be 4 mm Dp/p = +/-2%
Sn isotopes
100Sn
100Sn: ~ 1/7 of EPAX 3.01
Production yield deduced (887)
New isotopes (121)
238U 345 MeV/u + Be 7 mm Dp/p = +/-1%
124Xe
70Zn
50
50
28
28
20
82
20
8
48Ca
14N
18O
238U
Essential for designing RI beam experiments
Produced reactions
In-flight fission of 238U
Projectile fragmentation of
14N, 18O, 48Ca, 70Zn, 124Xe
N
Z
H. Suzuki, et al., NIMB 317, 756 (2013)
Notes: We have also measured the production yields of RI beams in the beam production.
The number of isotopes amounts to 887 for these production reactions.
This plot is the production rates for neutron-deficient Sn isotopes produced from 124Xe.
The rate of 100Sn has been found to be lower than that expected by EPAX 3.
This plot is the production rates for fission fragments with Uranium beam,
Where we have obtained for a wide-range of isotopes.
----- 会議メモ (2014/06/05 17:59) -----
obtained for very wide range of isotopes

## Slide 14: Isomers observed in the RI-beam production at RIBF
BigRIPS F7
Ge detectors
Al absorber
Al stopper
Some of them are used
for isomer tagging
 PID quickly established
Particle-g slow correlation method
Time window: 30 us
Energy range: 50-4000 keV
159 isomers observed with T1/2 = 0.1 – 100 us
47 isomers used for isomer tagging
Tw: 0.5 – 10 us
Eg : 180 – 189 keV
117Ru
83
103
185
Only 1-hour run
w/o delayed
g –ray gate
w/ delayed
g –ray gate
Particle-gated delayed g-ray spectrum
D. Kameda, et al., Phys. Rev. C 86, 054319 (2012).
Notes: We have also measured the isomers in the RI beam production.
This slide shows microsecond isomers that we have observed in the new isotope search and the BigRIPS tuning.
Microsecond isomers are essential for our RI-beam production because they can be used for isomer tagging
to calibrate our particle identification in the medium-mass regions.
These figures show the example of the isomer tagging using the 117Ru microsecond isomer.
These are the PID plots without and with the delayed g-ray gate.
We observed the presence of isomeric state in this isotopes.
I would like to stress that this g-ray spectrum was obtained only for 1-hour during the BigRIPS tuning,
demonstrating how quickly the isomer tagging was performed with this isomer.
Search for such isomers are very important to provide RI beams with users at RIBF.
Such microsecond isomers tell us the location in the nuclear chart, like lighthouses in the ocean.
----- 会議メモ (2014/06/05 17:59) -----
new isotope search と同時に isomer も見つけている。
BigRIPS tuning

## Slide 15: New isomers we discovered in the new isotope search runs
18 in 2008
25 in 2011
(4) in 2014
D. Kameda et al., RPC 86 054319 (2012)
To be published
Preliminary
New isomers discovered:
50
50
28
28
82
20
In total, 47 new isomers
Rich spectroscopic data
Isomer tagging
N
Z
r-process path
78Ni
Shape isomer, High-spin isomer
N=60 shape transition
Shape coexistence
Shape isomer, K isomer, Single-particle isomer
N~70 shape evolution
Prolate, Triaxial, Oblate, Tetrahedral,…
Shape isomer
N~75 shape coexistence
New deformation region
K isomer, Single-particle isomer
Large deformation
Shape isomer
D. Kameda et al., RPC 86 054319 (2012)
132Sn
Notes: These are 47 new isomers discovered with a Uranium beam at R-I-B-F.
They not only provide rich spectroscopic information as shown here but also can be used for isomer-tagging in the particle identification
in the region of more neutron-rich isotopes.
----- 会議メモ (2014/06/05 18:15) -----
Isomer tagging の話はいらない。

## Slide 16: Perspectives
Goal
Year
Beam intensity (pnA)
Beam intensity
Here
100 pnA
238U beam
Beam particle | E/A(MeV) | Beam current (pnA) |  | Injector
 |  | Maximum record | Expected ¶ | 
d | 250 | 1000 | 200 | AVF
d(pol.) | 250 | 120 | 30 | AVF
4He | 320 | 1000 | 1000 | AVF
14N | 250 | 400 | 400 | RILAC
18O | 345 | 1000 | 500 | RILAC
48Ca | 345 | 415 | 150 | RILAC
70Zn | 345 | 100 | 75 | RILAC
76Ge | 345 | not tested | N/A | RILAC
78Kr | 345 | under development | 50 | RILAC
86Kr | 345 | 30 | 50 | RILAC
136Xe | 345 | not tested | 20 | RILAC2
124Xe | 345 | 38 | 20 | RILAC2
238U | 345 | 15.1 | 10 | RILAC2
¶ Some intensities are limited by shielding requirements |  |  |  | 
Current beam intensity (from RIBF site)
76Ge
86Kr
136Xe
238U
Toward more neutron-rich
Toward higher-Z
60Ca
124Xe
200W
Increase of beam intensity  Much further from stability
 Various types of experiments
(Decay  Reaction)
Variety of primary beams  Variety of RI beams
N = 126
From O. Kamigaito
Notes: This plot shows increase of the primary beam intensity and this table summarizes the current beam intensity.
The intensity of Uranium beam is increasing with year, and we expect 100 pnA in near future.
The increase of beam intensity allows us to make various types of experiments, like secondary reaction experiments,
which require more beam intensity than that in decay experiments.
The use of variety of primary beams provides variety of RI beams.
----- 会議メモ (2014/06/04 15:14) -----
124Xe, 78Kr ビーム。反対側。
ビーム強度が増えれば反応実験が可能となる。例：100Sn
崩壊測定から反応測定へ。
ビームの種類を増やしてバリエーションを増やす。
----- 会議メモ (2014/06/04 17:21) -----
実験のタイプの話を入れる。
プライマリービームの種類を減らす。
60Ca ビームを作るには？何ビーム？
重い方のRプロセス。
Potentially doubly magic nuclei 60Ca
最後にドリップラインについて...
----- 会議メモ (2014/06/05 19:34) -----
48Ca
70Zn
124Xe
238U

## Slide 17: Neutron-drip line search with intense 48Ca beam
KTUY05
19B
17B
44Si
Oleg Tarasov et al.: Phys. Rev. C75 (2007) 064613 44Si
T. Baumann et al.: Nature 449 (2007)1022 40Mg and 42,43Al
33F
36Ne
39Na
42Mg
45Al
N=2Z+6
(A-3Z=6)
at RIBF
Search for the N=2Z+6 (A=3Z+6) nuclei: 33F, 36Ne, 39Na, (42Mg) : determination of existence/non-existence using an intense 48Ca beam at RIBF
Notes: Neutron-drip line will become possible with increasing beam intensity.
At the present, the neutron-drip line is known up to the Oxygen.
With an intense 48Ca beam at RIBF, we can determine the drip-line by searching on the A = 3Z + 6 line.
----- 会議メモ (2014/06/04 15:14) -----
Presented by T. K. at NSCL --> Delete
N = 2Z + 2, N = 2Z + 4 はいらない。
ドリップラインは O アイソトープまで。
ビーム強度が強くなれば O 以上のドリップラインが確定できる。
33F, 36Ne, とか。
48Ca ではここまで。それ以上は Zn, Kr, ...な
A-3Z = 6 at RIBF
----- 会議メモ (2014/06/05 18:25) -----
by searching 33F, 36Ne, and 39Na.

## Slide 18: Summary
Thank you for your attention.
BigRIPS separator
  RI beam production in flight
  Large acceptance
  High particle identification power
More than 100 new isotopes have been observed so far.
308 RI-beams have been produced for about 80 experiment.
Production rates have been obtained for about 900 isotopes.
About 50 new isomers have been observed.
  They provides rich spectroscopic data.
  They are used for isomer-tagging in PID.
In future
  More various RI beams with more various primary beams
  More various types of experiment with higher beam intensity
  Neutron-drip line search

## Slide 19: Backup slide

## Slide 20: Trajectory reconstruction for Br determination
d: Br deviation
Trajectory reconstruction (F3—F5 case)
Phase space correlation
Higher-order element derivation
1st order
Upt to 3rd order
Derivation of transfer matrix
First order matrix is determined from measurement.
Higher order matrix is determined empirically to improve A/Q resolution.
A/Q spectrum for Sn isotopes
produced by in-flight fission of U
Calculation
1st order
Up to 3rd order
Notes: This slide shows the details of the trajectory reconstruction, providing how to obtain the high Brho resolution.
The trajectory reconstruction is based on the ion-optical transfer matrix shown here.
The Brho deviation, delta, is reconstructed from the measured positions, angles, and
The transfer matrix by using this relation.
Then Brho is obtained like this.
In our method for derivation of transfer matrix,
First of all, a first order matrix is determined from the measurement,
by using phase space correlations between initial and final foci, F3 and F5, shown here.
Then higher order matrix elements are determined to improve the A/Q resolution.
Here, we use these kinds of plots, position, angle, and delta vs A/Q.
These A/Q spectra show the results of the trajectory reconstruction.
The best resolution is obtained with the matrix up to the 3rd order as shown here.

## Slide 21: RI-beam production (2007—2014 May)
Number of experiments
 | 238U | 124Xe | 86Kr | 70Zn | 48Ca | 18O | 14N | 4He | Yearly total
2007 | 4 |  | 1 |  |  |  |  |  | 5
2008 | 2 |  |  |  | 4 |  |  |  | 6
2009 | 3 |  |  |  | 3 |  | 3 | 1 | 10
2010 |  |  |  |  | 10 | 1 | 2 |  | 13
2011 | 4 | 2 |  |  |  | 2 |  |  | 8
2012 | 6 | 3 |  | 1 | 4 | 6 |  |  | 20
2013 | 4 | 2 |  |  |  | 3 |  |  | 9
2014 | 6 |  |  | 1 |  |  |  |  | 7
Total | 29 | 7 | 1 | 2 | 21 | 12 | 5 | 1 | 78
Primary beam | Energy (MeV/u)
238U, 124Xe, 86Kr, 70Zn, 48Ca | 345
18O | 230, 250, 294, 345
14N | 250
4He | 320

## Slide 22
Yields of neutron-deficient RI beams using a 124Xe beam at 345 MeV/u
100Sn
50
124Xe
50
Yields [pps/pnA]
105Te | 0.00030
104Sb | 0.066
100Sn | 0.00011
101Sn | 0.0078
102Sn | 0.51
99In | 0.040
100In | 1.4
98Cd | 4.8
96Ag | 17
94Pd | 9.4
94Rh | 12000
92Ru | 7700
Recent 124Xe-beam Intensity : ~35 pnA (Jun 2013)
The first Xe-beam experiment at RIBF in Dec. 2011.

## Slide 23
Production rate of neutron-deficient Sn isotopes from a 124Xe beam at 345 MeV/u
124Xe 345 MeV/u + Be 4 mm Dp/p = +/-2%
Production rate of 100Sn is ~ 1/7 of EPAX 3.01.
100Sn
100Sn | 0.00011
101Sn | 0.0078
102Sn | 0.51
103Sn | 19
104Sn | 280
105Sn | 4200
Yields [pps/pnA]

## Slide 24
Measured production cross sections comparison with EPAX 2.15 & 3.01 (124Xe 345 MeV/u + Be)
Fairly good agreement between the experimental results and EPAX 3.01.
In more neutron-deficient region and higher Z region, the experimental cross sections are smaller than EPAX 3.01 (in the case of 100Sn: 1/7).
Filled symbol: distribution peak is located inside the slit opening at each focus.
Open symbol: distribution peak is located outside at some foci.
＊-data: Preliminary
Even-Z Odd-Z
Preliminary
Preliminary

## Slide 25
Energy dependence of the projectile?
Secondary-reaction effect in the production target?
  RIKEN (345 MeV/u, 4 mm): ~1.16, GSI (1 GeV/u, 32 mm): ~3 (by LISE++)
Cross section of 100Sn Discrepancy between RIKEN and GSI
There is a discrepancy between the cross section of 100Sn measured at RIKEN and GSI (1 : 8).
 | Facility | event | Cross section | Energy | Be target
R0 | RIKEN | 23 | 0.74±0.17 pb* | 345 MeV/u | 4 mm
R1 | RIKEN | 6 | 0.40±0.17 pb* | 345 MeV/u | 4 mm
R2 | RIKEN | 12 | 0.71±0.21 pb* | 345 MeV/u | 4 mm
R3 | RIKEN | 9 | 1.6±0.5 pb* | 345 MeV/u | 8 mm + W-0.2mm
G0 | GSI | 259 | 5.8±2.1 pb | 1000 MeV/u | 32 mm (6 g/cm2)
G1 | GSI | 7 | 5 pb | 1095 MeV/u | 32 mm (6 g/cm2)
5.76 pb (EPAX3.01)
7.43 pb (EPAX2.15)
R0 : H.Suzuki, et al, NIMB 317, 756-768 (2013)
R1-R3: preliminary
R3: charge striping method
G0 : C.B.Hinke, et al, Nature (London) 486, 341 (2012)
G1 : R. Schneider, et al, Z. Phys. A 348, 241 (1994)
* : Only the statistical error is described. The systematic one is assumed to be ~ 50%.
preliminary
preliminary
preliminary
Is this discrepancy caused by…

## Slide 26
Momentum distribution
The low-momentum tails of the neutron deficient nuclei were measured.
The shape of the low-momentum tail is very important especially for the neutron-deficient nuclei experiment.
We searched a tail-parameter, named “coef” in the LISE++ calculation.
Br / momentum
yield
: The objective nuclei (cf: 100Sn)
: The contaminant nuclei (cf: 99In, 98Cd, 97Ag)
The low momentum tails of the contaminant nuclei make the purity worse.
100Sn
99In
98Cd
97Ag

## Slide 27
Low momentum tail
The “coef” value of 1.9 gives the best result.
Production Mechanism
 Settings (Projectile Fragmentation)
 Momentum distribution
 Settings
Momentum distribution of 99Rh
(Monte Carlo simulation)
Concept of mom. distri. In LISE++
distri. = expo. x (1-err.)
Momentum acceptance
Cf) “coef” =
5.758 : 26-2200 MeV/u (mainly <100 MeV/u)
O. Tarasov, Nuclear Physics A734 (2004) 536-540
3 : 140-MeV/u NSCL data
O. Tarasov, private communication
1.9 : 345-MeV/u 124Xe-beam data

## Slide 28
Yields of neutron-rich RI beams using a 70Zn beam at 345 MeV/u
8
54Ca
20
70Zn
20
28
Recent 70Zn-beam Intensity : ~70 pnA (Jul 2012)
51K | 0.35
52Ca | 2.2
53Ca | 0.51
54Ca | 0.11
55Sc | 13
56Sc | 0.85
57Sc | 0.12
56Ti | 140
57Ti | 5.9
58Ti | 3.7
59Ti | 0.35
60V | 2.2
Yields [cps/pnA]
28
Preliminary

## Slide 29
Measured production cross sections comparison with EPAX 3.01 & 2.15 (70Zn 345 MeV/u + Be)
Overall, good agreement between the experimental cross section and the EPAX parameterizations.
For Z < 20 region, EPAX 2.15 estimates the cross sections well. EPAX 3.01 underestimates them.
for Z > 20 region, EPAX 3.01 estimates them well. EPAX 2.15 overestimates them.
For 52-54Ca, the experimental cross sections are less than the EPAX 3.01 estimations.
 Next page.
Preliminary

## Slide 30
Yields of neutron-rich RI beams using a 48Ca beam at 345 MeV/u
8
40Mg
20
48Ca
20
28
Recent 48Ca-beam Intensity : ~400 pnA (May 2012)
19B | 5.5
22C | 7.0
22N | 4000
24O | 1300
32Ne | 3.4
38Mg | 1.5
41Al | 0.63
42Si | 25
44S | 30000
Yields [pps/100 pnA]

## Slide 31
Fairly good agreement between the experimental cross sections and EPAX 2.15.
EPAX 3.01 underestimates the cross sections.
Open symbols: cross sections with the correction for the secondary reaction effect in the target
(only for the nuclides whose augmentation factors are more than 1.6. )
Modification of EPAX3 from EPAX2
The c.s. of very neutron-rich fragments from medium-mass and heavy projectile were modified, which were overestimated by EPAX2. At the same time, the good agreement of EPAX2 for the neutron-deficient side is maintained.
Measured production cross sections compared with EPAX 3.01 & 2.15 (48Ca 345 MeV/u + Be)

## Slide 32
Measured production cross sections compared with EPAX 3.01 & 2.15 (18O 230, 250, 294, 345 MeV/u + Be)
18O
Preliminary
Discrepancy was observed in some cases.
H
He
Li
Be
B
C
N
O

## Slide 33: Search region for new isotopes
Newisotopes
( 2007, 2008)
N
Z
Known
Stable
Z = 60
Z = 50
N = 50
N = 82
Z = 30 region
Z = 40 region
Z = 50 region
Nuclear chart
Z = 60 region
124Xe

## Slide 34
Setting | 85Ru setting (Z=41-46) | 105Te setting (Z=52-54)
Isotope tuned | 85Ru44+ | 105Te52+
F0 target (mmt) | Be 4.03 | Be 4.03
Br01 (Tm) | 5.114 | 5.300
Br35 (Tm) | 4.534 | 4.596
F1 degrader | Al 2.85 mmt, 3.6 mrad | Al 2.85 mmt, 3.6 mrad
F5 degrader | Al 1.97 mmt, 1.6 mrad | Al 1.97 mmt, 1.6 mrad
F1 slit | Dp/p : +/-2.0% | Dp/p: -2.0~+1.5%
F2 slit (mm) | +/-20 | -15~+20
F5 slit | fully open | fully open
F7 slit (mm) | +/-20 | +/-10
Beam intensity (pnA) | ~ 7.6 | ~ 8.9
F3 rate (pps) | ~ 40k | ~ 40k
F7 rate (pps) | ~ 1.5k | ~ 1.0k
Two settings
BigRIPS settings for new isotope search

## Slide 35
New isotopes identified in this work: 85Ru,86Ru, 81Mo,82Mo
AZ
A+1Z
A+2Z+1
A/Q resolution (r.m.s.):
Z resolution (r.m.s.):
0.061%
0.40 % @ Zr (Z=40) isotopes
Expand
The known limits are shown by solid lines.
85Ru setting
TOF(F0-F7): ~430 ns

## Slide 36
85Ru: 1 86Ru: 3
81Mo: 1 82Mo: 11
85Ru setting (Z vs A-2Q plot)
Full stripped events are shown in this plot.
A is deduced from the TKE measured with SSD at F12.
New isotopes

## Slide 37
Unbound nuclei of Ru and Mo isotopes
On the line of A = 2Z-1,
  87Ru, 83Mo, 79Zr：observed
  85Tc, 81Nb: absent
 There live times are short compared to the TOF (~440 ns).
Consistent with the results by Z. Janas, et al, Phys. Rev. Lett. 82, 295 (1999).
The upper limits of the half lives.
  Considering the yields expected relative to the neighboring isotopes.
  Assuming the observation limit of 1 count.
85Tc ：42 ns, 81Nb: 38 ns
 They are outside of the proton drip line.
On the other hand, the experimental yield of the new isotopes 86Ru and 82Mo are almost the same with the expected yield.
 The half lives of them are long enough compared to the TOF (~440 ns)

## Slide 38
AZ
A+1Z
A+2Z+1
Expand
A/Q resolution (r.m.s.):
Z resolution (r.m.s.):
0.054%
0.39 % @ Zr (Z=40) isotopes
The known limits are shown by solid lines.
No new isotopes in this region.
105Te setting
TOF(F0-F7): ~440 ns
103Sb

## Slide 39
Upper limit : ~55ns
  The number at F0 : 413 counts
  (expected yield of 103Sb is deduced from the ones of neighboring nuclei)
  TOF from F0 to F7 : ~440 ns
 103Sb is outside of the proton drip line.
Unbound nuclei of Sb isotopes
103Sb was discovered by K. Rykaczewski, et. al. in 1995.
(observed after TOF of 1.5 ms)
K. Rykaczewski, et al, Phys. Rev. C, 52, R2310 (1995)

## Slide 40
New isotopes and unbound nuclei
50
50
Known isotopes
New isotopes (our work)
Unbound isotopes
(confirmed / reconfirmed
in our work)
HFB-14 model (S. Goriely, M. Samyn, J.M. Pearson, Phys. Rev. C 75, 064312 (2007).)
KTUY05 model (H. Koura et al, Prog. Theor. Phys. 113, 305 (2005).)
Proton emitter
a emitter
New isotopes
  Four new isotopes : 81Mo, 82Mo (Z=42), 85Ru, 86Ru (Z=44) (NEW!!)
Outside of the proton-drip line
  Sb (Z=51) : 103Sb (NEW!!)
  Tc (Z=43) : 85Tc
  Nb (Z=41) : 81Nb

## Slide 41
Production rates of the fragments in setting-A and comparison with LISE++ predictions by AF model
Good agreement with LISE++ calculation with Abrasion fission model around Z = 20 - 50.
At Z > 50 region, experimental production rates are much larger than the LISE++ calculation.
Br = 7.2 Tm±1%
Br (Tm)
Yield
70Ni
72Ni
74Ni
76Ni
78Ni
By LISE++
+16%
+9.8%
+4.0%
FWHM=21%
238U86+ 345MeV/u + Be, no degs.
Abrasion Fission
:
LISE++
Ver. 8.4.1
Notes: This slide shows production rates measured in the new isotope runs along with comparison with LISE++.
You see fairly good agreement with LISE++ simulations.

## Slide 42
238U86+ 345MeV/u + Be
Setting G1: Z~30
Setting G2: Z~40
LISE++(ver. 8.4.1)
Abrasion fission
Production rates of the fragments in setting-G1 & G2 and comparison with LISE++ predictions by AF model
Good agreement with LISE++ calculation with Abrasion fission model around the region of Z = 20 - 50.
Notes: This slide shows production rates measured in the new isotope runs along with comparison with LISE++.
You see fairly good agreement with LISE++ simulations.

## Slide 43
Production rates of the fragments in setting-G4t-Be
Experiment LISE++ (AF) LISE++ (PF) ver. 9.2.66 b (=8.4.1)
238U86+ 345MeV/u + Be
Abrasion fission + Projectile fragmentation
Experimental production rates are much larger than the LISE++ calculation with AF model in the region of Z > 55.
(Center particle: 168Gd63+64+(Z=64))
*1 Distribution mode was used.
*2 The DE detectors were located at F12. The transmission between F7 to F12 was not considered (~50%).
Z=57
58
59
60
61
62
63
64
65
66
73
68
69
Preliminary
Notes: This slide shows production rates measured in the new isotope runs along with comparison with LISE++.
You see fairly good agreement with LISE++ simulations.

## Slide 44
LISE++
LISE++
Exp.
LISE++
Exp.
6.324 Tm
6.711 Tm
Br distribution
LISE++
Kinematics of fragments: angular and momentum distributions for 168Gd (Z=64)
Y-angle(f) at F3
-30 mr
+30 mr
Wide spreads: consistent with fission!
Abrasion-fission
Projectile fragmentation
Preliminary!
Notes: This slide shows the kinematics of fragments, angular distribution here and Brho disitribution here.
The experimental data, which shows wide distributions, are consistent with the abrasion fission model.

## Slide 45
Production rates of the fragments in setting-B and comparison with LISE++ predictions by AF + CF model
Fairly good agreement with LISE++ calculation with “Coulomb fission + Abrasion fission”.
  Good agreement at the two peak regions (Z ~ 38 and Z ~ 52).
  Discrepancy is seen at other regions.
Br = 7.0 Tm±0.1%
By LISE++
Br (Tm)
Yield
128Sn
+11%
130Sn
132Sn
134Sn
136Sn
FWHM=13%
+7.4%
+4.1%
238U86+ 345MeV/u + Pb, no degs.
Coulomb Fission
+ AF
:
LISE++
Ver. 8.4.1
Notes: This slide shows production rates measured in the new isotope runs along with comparison with LISE++.
You see fairly good agreement with LISE++ simulations.

## Slide 46
238U86+ 345MeV/u + Pb
SettingG3: Z~50
LISE++(ver. 8.4.1)
Coulomb fission + AF
Good agreement with LISE++ calculation with “Coulomb fission + Abrasion fission” models around the region of Z ~ 50 (higher-Z peak).
Production rates of setting-G3 fragments and comparison with LISE++ predictions by CF+AF model
Z ~ 50
Notes: This slide shows production rates measured in the new isotope runs along with comparison with LISE++.
You see fairly good agreement with LISE++ simulations.

## Slide 47
Production rates of the fragments in setting-G4t-W
Experiment
LISE++ (AF) LISE++ (CF) ver. 9.2.66 b
(=8.4.1)
238U86+ 345MeV/u + W
Abrasion fission + Coulomb fission
The experimental production rates are larger than the LISE++ calculation around Z=55 - 60.
However, they agrees well in the region Z > 63.
(Center particle: 168Gd63+64+(Z=64))
*1 Distribution mode was used.
*2 The DE detectors were located at F12.
The transmission between F7 to F12
was not considered (~50%).
Z=58
59
60
61
62
63
64
65
Preliminary
66
67
Notes: This slide shows production rates measured in the new isotope runs along with comparison with LISE++.
You see fairly good agreement with LISE++ simulations.

## Slide 48
Chart: 
| 126.0 | 127.0 | 128.0 | 129.0 | 130.0 | 131.0 | 132.0 | 133.0
Be4mm-Z49 | 0.13298 | 1.0055 | 1.6931 | 26.4085 | 90.0003 | 79.4006 | 11.576 | 1.9039
Be4mm-Z50 | 0.90818 | 2.8413 | 147.6307 | 923.9468 | 315.452 | 86.9482 | 12.0917 | 1.1904 | 0.045409
Be4mm-Z51 | 0.92115 | 49.687 | 328.1438 | 351.1142 | 128.5654 | 32.8338 | 3.876
Be4mm-Z52 | 35.873 | 271.6811 | 269.615 | 83.2798 | 17.1613 | 1.3525
Be4mm-Z53 | 9.2375 | 76.5172 | 64.3087 | 13.9535 | 2.2056
Pb1mm-Z49 | 0.19932 | 8.3023 | 48.8566 | 62.3929 | 9.2879 | 1.1802
Pb1mm-Z50 | 0.34685 | 23.2606 | 497.9147 | 275.6119 | 88.1929 | 11.6358 | 0.91812 | 0.037666
Pb1mm-Z51 | 0.41747 | 73.6725 | 257.0988 | 135.2117 | 40.5181 | 4.1763
Pb1mm-Z52 | 31.8031 | 128.4207 | 59.4471 | 13.8346 | 0.791
Pb1mm-Z53 | 6.2652 | 25.8015 | 8.3714 | 1.2712
Production rate comparison between G3’-Be and G3’-Pb
Preliminary
These Be and Pb targets are energy-loss equivalent thick.
The BigRIPS settings are the same.
Be target
Pb target
In the neutron-rich region, the production rates are almost the same in these setting.
Z=49
50
51
52
53
Notes: This slide shows production rates measured in the new isotope runs along with comparison with LISE++.
You see fairly good agreement with LISE++ simulations.

## Slide 49
Production rate comparison between G4t-Be and G4t-W
Preliminary
Chart: Z=even
| 154.0 | 155.0 | 156.0
Z=58(Be) | 0.067758 | 0.038529 | 0.0097921
Z=60(Be) | 1.1583 | 0.94472 | 0.14974 | 0.035281 | 0.0025095
Z=62(Be) | 0.081437 | 1.6189 | 5.6341 | 4.2598 | 1.6491 | 0.39006 | 0.080305 | 0.0061508 | 0.0016238
Z=64(Be) | 0.0080699 | 0.070612 | 0.85762 | 3.4514 | 4.3778 | 2.2458 | 1.362 | 0.26212 | 0.066577 | 0.01053
Z=66(Be) | 0.0022143 | 0.0046254 | 0.054915 | 0.4465 | 0.70867 | 0.63344 | 0.3816 | 0.19048 | 0.065002 | 0.013286 | 0.0029032 | 0.0007381
Z=68(Be) | 0.001673 | 0.0038873 | 0.015599 | 0.072727 | 0.089704 | 0.052553 | 0.035478 | 0.010038
Z=58(W) | 0.17149 | 0.06341 | 0.024499
Z=60(W) | 2.8578 | 2.0925 | 0.25508 | 0.037469
Z=62(W) | 0.048998 | 1.1025 | 5.2659 | 4.0381 | 1.7539 | 0.4136 | 0.085027
Z=64(W) | 0.13979 | 0.79839 | 1.3921 | 0.97853 | 0.77821
Z=66(W) | 0.02594 | 0.051881 | 0.10953 | 0.096556 | 0.046116 | 0.02594
Chart: Z=odd
| 153.0 | 154.0
Z=57(Be) | 0.0062985 | 0.0031984
Z=59(Be) | 0.20495 | 0.34159 | 0.15156 | 0.0093493 | 0.0044286
Z=61(Be) | 0.22492 | 3.0164 | 3.9461 | 1.4099 | 0.43735 | 0.042318 | 0.0067413
Z=63(Be) | 0.025637 | 0.55648 | 3.2952 | 8.4062 | 5.6495 | 1.7525 | 0.35512 | 0.066134 | 0.010235 | 0.0026572
Z=65(Be) | 0.0070858 | 0.020667 | 0.74893 | 2.1372 | 2.1611 | 1.6265 | 0.70902 | 0.26567 | 0.059737 | 0.021503
Z=67(be) | 0.0015746 | 0.0073318 | 0.038037 | 0.18477 | 0.30041 | 0.23575 | 0.13438 | 0.037889 | 0.012105
Z=69(Be) | 0.0037889 | 0.015992 | 0.023275 | 0.016287 | 0.007135
Z=59(W) | 0.55628 | 0.67157 | 0.24643
Z=63(W) | 0.23779 | 3.2166 | 5.263 | 1.5362 | 0.39919 | 0.02594
Z=65(W) | 0.16573 | 1.1111 | 3.3492 | 2.9341 | 1.0203 | 0.20464 | 0.048998
Z=67(W) | 0.069174 | 0.25652 | 0.37469 | 0.31561 | 0.18302 | 0.10232 | 0.023058
Z=67(W) | 0.031705 | 0.041793 | 0.037469
These Be and W targets are energy-loss equivalent thick.
The BigRIPS settings are the same.
Z=58
60
62
64
66
68
57
59
61
63
65
67
69
Be target
W target
In Z > 62 region, the production rates of the neutron-rich nuclei with Be target are larger than the ones with W target.
Notes: This slide shows production rates measured in the new isotope runs along with comparison with LISE++.
You see fairly good agreement with LISE++ simulations.

## Slide 50
2011 U experiment
Z~59
Z~64
Z
A/Q
238U86+ + Be at 345 MeV/u,
~0.5 pnA (3 x 109 pps)
Unknown
Unknown
Preliminary!
A/Q resolution: 0.035~0.040 % (s)
A/Q accuracy: +/- 0.1 %
Z resolution: 0.46 % (s)
A/Q resolution: 0.035~0.040 % (s)
A/Q accuracy: +/- 0.05 %
Z resolution: 0.48 % (s)
2 different settings
Intensity almost same as 2008 experiment
238U + Be
238U + Be
Setting-G4b-Be
Setting-G4t-Be
Notes: This slide shows the results of the 2011 U-beam experiment, in which we searched for Z=60 region.
We ran the measurement for these two settings, and identified 14 new isotopes.
This shows the results of the Xe-124 experiment, in which we search for the proton-trip line in this Z region.
We identified these 4 new isotopes.